Concrete Pads

The vertical load component from the legs is 4737 lbs with both dead and live load.  Each pad sees that load.

Each concrete pad has rebar, welded wire fabric and chopped fiberglass mixed into it.

Assuming a conservative compression strength of 4000 psi, just over one square inch would be sufficient.  They are 18” in diameter.  Each pad has 254 sqin area.  That loads the earth at 18.6 lb/sqin or 2685 lb/sf.

All pads are painted with epoxy paint.