Legs Loading

The total sprung weight of the unit will be around 4350 lbs.

If I use these areas at 40 lb/sqft.;

Deck  20 sf.

Main Floor 122 sf.

Other rooms 20 sqft

Sleeping Room  77 sf.

I get 239 sqft. or 9560 lbs

Total of both is 13,910 lbs.

Divided by 3 legs, each leg sees 4637 lbs.

Assuming each leg is at 45 degrees, the axial load on each leg will be 1.43 times 4637 lbs or 6630 lbs.

Using Eulers equation, the allowable load is 696818.1

That is a safety factor of over 10.