Stairs Structure

Stairs will be commercial steel product.

With uniform load of 40 lbs/qft and a span of 144”, the section modulus required is 0.72 in^3, combined.  With safety factor of 2, each one would have that.

0.1” thick channel 8” high with 1” flanges will give SM of 1.8^3.